High Quality Background Noise Simulation: 

The ETSI STF 273 Project 

 S. Völl, H.W. Gierlich

HEAD acoustics GmbH, Ebertstr. 30 a, D-52134 Herzogenrath

The proper integration of high quality signal processing in modern terminals is a challenging topic: Besides the problems of proper echo control the handling of the background noise under the various environmental conditions and the overall speech quality performance of new devices is of vital importance. In order to optimize all acoustical and signal processing components used in modern terminals (microphones, loudspeakers/receivers, echo cancellers, noise cancellers different types of AGC..) a realistic background noise simulation in a lab type environment is required.

Within the ETSI STF 273 project a recording and reproduction technique is developed and standardized which can be used  for all types of terminals including mobile terminals, all types of wire-line terminals and car hands-free terminals. The setup allows to reproduce pre-recorded background noise realistically under laboratory conditions. The recording technique, the simulation technique used and the performance evaluation of the setup used will be described.

